Time of Transfer:  Due Date:_______

ONSITE WASTEWATER INSPECTION CHECKLIST

Pre-Construction Inspected By: ___________________Date____________ Approved Not Approved______________

Construction Inspected by:______________________ Date____________ Approved Not Approved______________

Permit #:____________________Tank Size Required _________ Laterals Required ______ 24”______   36” trench

1.  Address of Installation:	_________________________________________________________________

Township: ___________________Section: ______ T____N R____W         Quarters _____1/4 _____1/4 _____1/4

2.  Owner/Buyer: ____________________________ Address:_____________________________Phone:________

Tenant/Seller: ___________________________ Address:_____________________________Phone:________

3.  Plumber/Contractor: ________________________Address:_________________________Phone:________

4.  Site Evaluation/Pre-Construction Inspection

| Description | Not Applicable | Compliant | Not Compliant | Comments |
| --- | --- | --- | --- | --- |
| Topography |  |  |  |  |
| Drainage Ways |  |  |  |  |
| Terraces |  |  |  |  |
| Floodplain |  |  |  |  |
| Percent of Land Slope |  |  |  |  |
| Property Lines |  |  |  |  |
| Location of easements |  |  |  |  |
| Buried Utilities |  |  |  |  |
| Existing & proposed tile lines |  |  |  |  |
| Existing, Proposed, Abandoned Wells |  |  |  |  |
| Available Area of Installation |  |  |  |  |
| Evidence of Unstable Ground |  |  |  |  |
| Alteration of existing soil profile |  |  |  |  |
| Soil analysis |  |  |  |  |
| Percolation test |  |  |  |  |
| Minimum Distances |  |  |  |  |

5.  Building Type & Septic Tank Size Requirements:   New System    Repair to existing system

A. _____Single Family House 1   2    3 BR or <: 1250 gal   4 BR: 1500 gal   5 BR: 1750 gal   6 BR: 2000 gal

B. _____Non-household (see Appendix A: Describe): _______________________________________________________

____________gallons/day x 2 = _______gals = __________gal septic tank

C. _____Other Waste: _______________________  >900 gal/day  15 person or <1500 gal/day  >1500 gal/day

(REQUIRES ADMINISTRATIVE AUTHORITY OF CAPACITY & SEPTIC SYSTEM DESIGN – CONTACT REGIONAL DNR OFFICE)

D. _____Basement fixtures:  No    Yes  If yes :   gravity flow or   pumping required

Calculations:

6.  Separation Distances:

| Description | Closed Portion of System | Not Applicable | Compliant | Not Compliant | Open Portion of System | Not Applicable | Compliant | Not Compliant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Private Water Supply | 50 |  |  |  | 100 |  |  |  |
| Public Water Supply | 200 |  |  |  | 200 |  |  |  |
| Groundwater heat pump bore hole | 50 |  |  |  | 100 |  |  |  |
| Lake or reservoir | 50 |  |  |  | 100 |  |  |  |
| Stream or Pond (1 acre or less) | 25 |  |  |  | 25 |  |  |  |
| Edge of drainage ditch | 10 |  |  |  | 10 |  |  |  |
| Dwelling or other structure | 10 |  |  |  | 10 |  |  |  |
| Property Lines (w/o easement) | 10 |  |  |  | 10 |  |  |  |
| Other type subsurface treatment | 5 |  |  |  | 10 |  |  |  |
| Water lines under pressure | 10 |  |  |  | 10 |  |  |  |
| Suction water lines | 50 |  |  |  | 100 |  |  |  |
| Foundation drains or tiles | 10 |  |  |  | 10 |  |  |  |

7.  Septic Tank

Septic Tank Manufacturer: __________________  Capacity: _________gallons  Watertight Yes No

Construction Material: ________________ Number of Compartments: _____________

Condition of tank:____________________ Distance from buildings (10’):_______________

Watertight risers to the surface Yes No  Riser Diameter (18”)______      Effluent filter Yes No

Existing septic tank Yes No  pumped Yes No  abandoned Yes No  How:_________________

Inlet and Outlet accessible Yes No  Inlet baffles  Yes  No   Outlet baffles  Yes   No

Inlet & outlet pipes have self sealing gaskets 	        Yes No

Joints are solvent welded or compression type gaskets Yes No

8.  Soil Treatment Area – Site Evaluation

Soil Map Used from Web Soil Survey for preliminary evaluation

b) Soil Type #: ______ Soil name: _________________ Soil texture: _______________

c) Depth to water (3’ separation) ____ Soil Texture Confirmed:______________ loading rate ________

d) Topography issues______________________________

e) Is the soil compacted Yes No   e) Is the treatment area back fill Yes No

9.  Clean out  Yes No	Where is clean out located:____________________________________

Clean out needed for pipe > 100’ run   Yes No  Where located: ____________________________

Clean out needed for pipe > 45 degree Yes No

10. Absorption Field – Select the appropriate system

a) Gravel System (3/4” – 2 ¼” gravel)

Number of Laterals: _______   Length per Lateral (<100’): __________ Total Footage __________

Width of Trenches (24-36”): _________    Depth of Trenches (not to exceed 36”): ___________

Amount of rock below distribution lines (minimum 6”): _______

Amount of rock above distribution lines (just to cover): _______

Type of barrier material between rock and backfill:

(1) hay, (2) straw, (3) untreated building paper, (4) synthetic drainage paper, (5) silt screen

Distance between trench (minimum of six (6) feet): ________ Schedule 40 Plastic Pipe – 4” dia ____________

b) Gravelless Pipe System (10”)

Number of laterals: _______ Length per lateral (<100’): _______ Total Footage __________

Trench width (minimum 18”): _______ Trench Depth (not to exceed 36”): _______

Distance between trench edge (minimum of 6’) _______ Schedule 40 Plastic Pipe – 4” dia ______

c) Chamber System

Chamber width: _________ (33.5% reduction for 36” wide trench)

Number of laterals: ______ Length per lateral (<100’): _______ Total Footage __________

Trench width: ______ Trench depth (not to exceed 36”): ______

Distance between trench edge (minimum of 6’) _______ Schedule 40 Plastic Pipe – 4” dia ____________

d) Other  ___________________________________________________________________________

11.  Distribution box Yes No  	  Drop box Yes No  How Many: ______

Baffles or tee’s at the inlet   Yes No   Outlet covers for unused openings Yes No

Speed levelers for openings Yes No   Lid(s) to surface  Yes No

12.  Dosing System         None     _________pump size

Water tight pump pit Yes No   Discharge to a distribution box Yes No __________________

Size of pump pit (not less than 24”) _________ Cover at grade level Yes No

Pump protected from frost and settled sludge Yes No

Pump dosing setting :________________( approx. 4x per day based on max design flow)

Electrical connections in pit Yes No      Weatherproof box Yes No

Pressure line size: _________ (pressure line to the pump to discharge shall not be smaller than outlet of the pump it serves)

High water alarm Yes No   Visual Yes _______ No    Auditory Yes _________ No

Comments:

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

As Built Drawing & Check List of Installed System:  Label the following:

| Lot/Property Lines | Distance from house to the tank | Distance from corner of house to pipe out of house to tank |
| --- | --- | --- |
| Depth of D. Box | Length & Depth of each lateral line | Distance from tank to D. Box |
| Depth of each line | Depth of all pipe | Distance between each lateral line |
| Distance to drainage tile | Distance from other permanent fixture to tank and lateral lines | Distance from D.Box to each lateral line |
| Distance to well, pond, stream, lake, ditch | Depth of added drainage tile due to high ground water issues |  |