| AGENCY NAME HERE POLICY/PROCEDURE | Policy # | Procedure # |
| --- | --- | --- |
|  | Effective Date: | Latest Revised Date: |
|  | Approved By: | Page 1 of 1 |
| Title Pool and Spa Inspection Policy and Procedure | Department: EH |

PURPOSE:  To protect human health by ensuring that pools and spas are operated safely and meet minimum standards.

POLICY: Environmental Health worker will ensure that pools and spas are operated in accordance with Iowa Administrative Code 641, Chapters 15.

EQUIPMENT NEEDED:
Test Kit [that meets rules for required testing parameters 15.4(2)f(2)]

Water Proof Thermometer

Measuring Tape, at least 20 ft

GFI Tester

Calculator

Inspection Form

PROCEDURE:

New Facilities.

- Plan review and permit process will be handled by IDPH at 515-281-8722.

- Initial on-site inspection shall be conducted by the state.

# Existing Facilities

- All facilities shall be inspected annually. Re-inspection may be conducted at the discretion of the inspector.

- Owner shall be invoiced for inspection fee by the county. A letter documenting the deficiencies shall be sent to the owner/operator within 1 week of the inspection.

# Facility Closure due to Deficiencies

- A pool with a deficiency requiring closure according to Chap.15, shall be closed by notifying the manager immediately following the inspection or at the time the deficiency is noted.

- The manager will be given a timeline in which closure must occur. EH worker will be notified when the deficiency has been corrected and will then conduct a follow up inspection.

- EH worker will authorize when the pool/spa may reopen.